## L01_Available_Capacity
constraint_name | area | utility | latitude | longitude | coord_method | plan_capability_mw | allocated_tpd_mw | available_tpd_mw | adnu_increment_mw | adnu_description | adnu_cost_m | eods_capability_mw | affected_resources | resource_type | binding_condition
Antelope-Vincent Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.595 | -118.197 | substation | 6149.12 | 5538 | 611 | 1500 | Upgrade Antelope-Vincent No.1 and 2 500 kV Lines (2 yrs) | 13.2 | 8920.36 | Tehachapi, Big Creek | Solar | On-Peak
Vincent-Lugo Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.402 | -117.7425 | substation | 6733.24 | 4493 | 2240 | 2000 | Upgrade Vincent-Lugo No.1 and 2 500 kV Lines (4 yrs) | 85.9 | 8496.34 | Tehachapi | Solar | On-Peak
Pardee-Sylmar Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.332 | -118.543 | substation | 3530 | 3530 | 0 | 1800 | Install Phase Shifters at Pardee on the Pardee-Sylmar No. 1 and No. 2 230 kV Lines, Reconductor Pardee-Vincent No. 2 220 kV line (9 yrs) | 660 | 6426 | Big Creek, Ventura | Solar | On-Peak
Windhub Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.9 | -118.35 | substation | 1333.6 | 1334 | 0 | 2500 | New 500 kV Transmission Line from Whirlwind to Windhub 500 kV (9 yrs) | 612 | 2614.3 | Tehachapi | Solar | On-Peak
Moorpark-Pardee Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.305 | -118.713 | substation | 954 | 954 | 0 | 900 | Upgrade the Moorpark-Pardee #2 and #3 220 kV and Santa Clara-Vincent 220 kV lines (9 yrs) | 600 | 2641 | Ventura | Solar | On-Peak
North of Magunden Constraint | SCE Northern Interconnection Area Constraints | SCE | 37.04 | -119.025 | substation | 876 | 876 | 0 | 500 | Rebuild Magunden - Vestal No.2 230 kV and Magunden - Springville No.2 230 kV Lines (9 yrs) | 1253 | 1527 | Big Creek | Solar | On-Peak
South of Magunden Constraint | SCE Northern Interconnection Area Constraints | SCE | 37.04 | -119.025 | substation | 977 | 977 | 0 | 2000 | Rebuild various SOM lines (9 yrs) | 4358 | 2138 | Big Creek, Ventura | Solar | On-Peak, Off-Peak
Antelope-Neenach Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.765 | -118.43 | substation | 0 | 0 | 0 | 2000 | Reconductor Antelope-Bailey 66 kV lines (2 yrs) | 100 | 0 | Antelope/Bailey/Pastoria area | Solar | On-Peak, Off-Peak
Hinson - Del Amo Constraint | SCE Metro Interconnection Area Constraints | SCE | 33.835 | -118.1295 | substation | 2700 | 460 | 2240 | 800 | Upgrade the Hinson - Del Amo 220 kV Transmission Line (27 months) | 28 | 2700 | LA Basin | Solar | On-Peak
SCE Metro Area Default Constraint | SCE Metro Interconnection Area Constraints | SCE | 33.95 | -118.24 | substation | 13500 | 6000 | 7500 |  |  |  | 13500 | LA Basin | Solar
Control to Inyokern area constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 35.37 | -119.03 | substation | 0 | 0 | 0 | 186 | Build a new, series compensated Control-Inyokern 115 kV line and upgrade Inyo Phase Shifter (105 months) | 329 | 120 | Inyokern_North | Solar | On-Peak
South of Kramer Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.73 | -117.55 | substation | 456 | 456 | 0 |  | Approved Project: Convert Kramer - Victor 115 kV lines to 230 kV (120 months) |  | 1190 | Inyokern_North_Kramer Victor | Solar | On-Peak
Victor to Lugo Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.379 | -117.521 | substation | 1034 | 1034 | 0 |  | Approved project:Re-conductor the four Lugo-Victor 230 kV lines (54 months) |  | 1878 | Inyokern_North_Kramer Victor | Solar | On-Peak
Lugo Transformer Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.379 | -117.521 | substation | 1328 | 1328 | 0 |  | Approved project: Add a third 500/230 kV transformer at Lugo Substation (54 months) |  | 2427 | Inyokern_North_Kramer, Victor, Pisgah | Solar | On-Peak
Calcite to Lugo Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.379 | -117.521 | substation | 297 | 297 | 0 | 1046 | Rebuild Calcite-Lugo 220 kV Transmission Line (105 months) | 239 | 552 | Pisgah | Solar | On-Peak
Colorado River 500/230 kV Constraint | SCE Eastern Interconnection Area Constraints | SCE | 34.488 | -114.356 | substation | 1160 | 1160 | 0 | 1370 | New Colorado River No. 3 500/230 kV transformer (4 years) | 67 | 2202 | Colorado River 230 kV | Solar | On-Peak, Off-Peak
DCRT Constraint | SCE Eastern Interconnection Area Constraints | SCE | 34.488 | -114.356 | substation | 2300 | 297 | 0 | 3000 | New Cielo Azul - Colorado River No. 2 500 kV line, Upgrade the series cap on Cielo Azul - Colorado River No.1 500 kV line to match the conductor rating (6 years) | 463 | 2300 | Cielo Azul, Delaney | Solar | On-Peak
Devers-Red Bluff Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.8315 | -116.6465 | substation | 6665 | 6665 | 0 |  | Approved projects: Devers-Red Bluff 500 kV 1 and 2 Line Upgrade (2028) and Southern Area Reinforcement Project (2034) |  | 7860 | SCE Eastern (east of Red Bluff), East of Pisgah, and SDG&E areas | Solar | On-Peak, Off-Peak
Eagle Mountain Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.834 | -115.438 | substation | 0 | 0 | 0 | 600 | New Devers-Julian Hinds 220 kV line (10 years) | 1182 | 392 | Eagle Mountain, Julian Hinds, Mirage | Solar | On-Peak
Etiwanda-Rancho Vista Constraint | SCE Eastern Interconnection Area Constraints | SCE | 34.153 | -117.495 | substation | 4824 | 4824 | 0 | 3350 | Upgrade Etiwanda-Rancho Vista No. 1 & No. 2 220 kV lines, New Etiwanda-Rancho Vista No. 3 220 kV line (3 years) | 89 | 7313 | SCE Eastern area | Solar | On-Peak
Red Bluff 500/230 kV Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.715 | -116.305 | substation | 1450 | 1450 | 0 | 1200 | New Red Bluff No. 3 500/230 kV transformer (4 years) | 69 | 1603 | Red Bluff 230 kV | Solar | On-Peak, Off-Peak
Serrano-Alberhill-Valley Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.998 | -117.588 | substation | 8173 | 8173 | 0 |  | Approved projects: • Southern Area Reinforcement Project (2034) • Devers-Valley 500 kV 1 Line Upgrade (2028) • Serrano-Alberhill-Valley 500 kV 1 Line Upgrade (2028) • San Bernardino-Etiwanda 230 kV 1 Line Upgrade (2031) • San Bernardino-Vista 230 kV 1 Line Upgrade (2028) • Vista-Etiwanda 230 kV 1 Line Upgrade (2031) • Mira Loma-Mesa 500kV Underground Third Cable (2026) |  | 11704 | SCE Eastern and SDG&E areas | Solar | On-Peak, Off-Peak
GLW 230kV area constraint | East of Pisgah (EOP) Interconnection Area Constraints (SCE, GLW, VEA) | SCE | 36.085 | -115.145 | substation | 3372 | 297 | 0 |  | GLW Core Upgrade and Beatty 230kV Project (2022-23 TPP) (2027) |  | 3642 | VEA 138kV and GLW 230kV buses | Solar | On-Peak, Off-Peak
Sloan Canyon - Eldorado 500 kV constraint | East of Pisgah (EOP) Interconnection Area Constraints (SCE, GLW, VEA) | SCE | 35.848 | -114.9675 | substation | 4032 | 3728 | 304 |  |  |  | 4302 | VEA 138kV, GLW 230kV and Eldorado 230kV buses | Solar | On-Peak
Lugo - Victorville area constraint | East of Pisgah (EOP) Interconnection Area Constraints (SCE, GLW, VEA) | SCE | 34.379 | -117.521 | substation | 10105 | 10105 | 0 | 6800 | Eldorado - Lugo 500kV No.2 line (10 years) | 2165 | 12605 | East of Pisgah, SCE Eastern,SDG&E and SCE Northern areas | Solar | On-peak, Off-Peak
Capistrano-San Onofre 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.4295 | -117.609 | substation | 1324 | 1017 | 307 | 920 | Capistrano-San Onofre 230 kV upgrade (60 months) | 58.1 | 1324 | SDGE local area | Mixed | On-peak
Chicarita 138 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.05 | -117.12 | substation | 224 | 297 | 0 | 700 | Chicarita 138 kV Upgrades (48 months) | 100 | 224 | Baja, Imperial, SDGE local area | Mixed | On-peak
El Cajon 69 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.79 | -116.96 | substation | 406 | 297 | 0 | 547 | El Cajon 69 kV Upgrade (48 months) | 14.7 | 406 | SDGE local area | Mixed | On-peak
Miguel 69 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.81 | -116.88 | substation | 231 | 297 | 0 | 431 | Miguel 69 kV upgrades (48 months) | 671.054 | 231 | SDGE local area | Mixed | On-peak
Encina - San Luis Rey 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.1915 | -117.34 | substation | 3880 | 297 | 0 |  | Approved Project: Southern California 500 kV Transmission Reinforcement (ISD - 2034); 30 minute emergency rating on Encina Tap-San Luis Rey 230 kV Line |  | 7627 | Baja, Imperial, Arizona, SDGE local area | Solar | On-Peak, Off-Peak
San Luis Rey-San Onofre 230 kV line constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.3 | -117.4415 | substation | 3906 | 297 | 0 |  | Approved Project: Southern California 500 kV Transmission Reinforcement (ISD - 2034); 30 minute emergency rating for San Luis Rey-San Onofre 230 kV #1 line |  | 7833 | Baja, Imperial, Arizona, SDGE local area | Solar | On-Peak, Off-Peak
Ocean Ranch 69 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.22 | -117.38 | substation | 204 | 38 | 166 | 692 | Ocean Ranch 69 kV upgrade (48 months) | 28.3 | 204 | SDGE local area | Mixed | On-peak
Otay Mesa 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.583 | -117.035 | substation | 1175 | 297 | 0 | 2189 | Otay Mesa 230 kV upgrade (60 months) | 79.91 | 1175 | Imperial, SDGE local area | Mixed | On-peak
Silvergate - Bay Blvd 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.72 | -117.21 | substation | 2717 | 297 | 0 |  | Approved Project: Southern California 500 kV Transmission Reinforcement (ISD - 2034); 2 hour emergency rating on Silvergate-Bay Boulevard 230 kV line |  | 4894 | Baja, Imperial, SDGE local area | Solar | On-Peak, Off-Peak
Silvergate-Old Town 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.72 | -117.21 | substation | 2369 | 297 | 0 |  | Approved Project: Southern California 500 kV Transmission Reinforcement (ISD - 2034); 30 min emergency rating for Silvergate-Old Town and Silvergate-Old Town Tap 230 kV lines |  | 2369 | Baja, Imperial, SDGE local area | Mixed | On-peak
Talega 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.473 | -117.61 | substation | 1028 | 297 | 0 | 2201 | Talega 230 kV Upgrades (60 months) | 210.6 | 1028 | SDGE local area | Mixed | On-peak
Trabuco-Capistrano 138 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.551 | -117.6275 | substation | 501 | 257 | 244 | 556 | Trabuco-Capistrano 138 kV upgrade (48 months) | 103.366 | 501 | SDGE local area | Mixed | On-peak
Collinsville-Tesla 500 kV Line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 37.857 | -121.649 | substation | 3379 | 3379 | 0 | 8645 | 500kV Delevan (144 months) | 2851.848 | 7706 | Greater Bay Area, North of Greater Bay Area and PG&E South 500 kV | Wind | On-Peak
Woodland- Davis 115kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.611 | -121.7555 | substation | 90.45 | 65 | 25.45 | 109 | Reconductor Q653F-Davis 115 kV Line (60 months) | 9.329 | 81 | North of Greater Bay Area | Wind | On-Peak
Cortina-Eagle Rock 115 kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 39.2525 | -122.405 | substation | 971 | 96 | 875 | 50 | Re-conductor Q1284 Sw Sta-Lower Lake Sw Sta/Eagle Rock 115 kV Line (Q1284 Sw Sta-Cache Jct 1) (60 months) | 50 | 1422 | North of Greater Bay Area | Wind | On-Peak
Bell-Placer 115kV Line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.7755 | -121.23 | substation | 347 | 65.697 | 281.303 | 480 | Re-conductor Higgins-Bell and Bell-Placer 115 kV Lines (120 months) | 185 | 379 | North of Greater Bay Area | Wind | On-Peak
Carberry-Round Mountain 230kV Line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 40.72 | -122.24 | substation | 15 | 15 | 0 | 26 | Re-conductor Pit 3-Carberry and Carberry-Round mountain 230 kV Lines (84 months) | 180 | 15 | North of Greater Bay Area | Wind | On-Peak
Rocklin-Pleaseant grove 115kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.791 | -121.236 | substation | 50 | 50 | 0 | 707 | Re-conductor Rio Oso-Lincoln 115 kV Line and Lincoln-Pleasant Grove 115 kV Line (72 months) | 125 | 96 | North of Greater Bay Area | Wind | On-Peak
Bellota-Weber 230kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.2 | -121.2633 | substation | 1661 | 591 | 1070 | 460 | Subacco (120 months) | 400 | 2539 | Greater Bay Area, North of Greater Bay Area and Fresno | Wind | On-Peak
Rio Oso-Brighton 230kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.7625 | -121.48 | substation | 423 | 121.87 | 301.13 | 574 |  |  | 463 |  | Wind | On-Peak
Rio Oso-Lockeford 230kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.5625 | -121.345 | substation | 1042.47 | 72.15 | 970.32 | 485 |  |  | 975 |  | Wind | On-Peak
Dumbarton-Newark 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.5085 | -122.0705 | substation | 1290 | 501 | 789 |  | Approved New Collinsville 500/230 kV Substation Project (2028) |  | 3728 | Greater Bay Area and North of Greater Bay Area | Wind | On-Peak
Eastshore-San Mateo 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.7165 | -122.306 | substation | 2146 | 705 | 1441 |  |  |  | 4811 |  | Wind | On-Peak
Lakeville-Ignacio 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.1375 | -122.535 | substation | 2257 | 1925 | 332 |  |  |  | 768 |  | Wind | On-Peak
Sobrante-Moraga 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.895 | -122.205 | substation | 3140 | 545.5 | 2594.5 |  |  |  | 5136 |  | Wind | On-Peak
Windmaster-Delta pumps 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.055 | -121.95 | substation | 546 | 546 | 0 | 6034 | Contra Costa to Tesla and Newark 230 kV lines and Birds Landing series reactors( Bay Area ADNU) (86 months) | 417.332 | 3673 | Greater Bay Area and North of Greater Bay Area | Wind | On-Peak
Contra Costa- Windmaster 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.0425 | -122.035 | substation | 1233 | 577.8 | 655.2 | 5601 |  |  | 3667 |  | Wind | On-Peak
Tesla-Tracy-Pump 230 kV line #2 | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.6815 | -121.4475 | substation | 4574 | 3046.468 | 1527.532 | 3521 |  |  | 10136 |  | Wind | On-Peak
Contra Costa #1 115kV Line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.03 | -122.12 | substation | 32 | 0 | 32 | 131 | Contra Costa 115kV, 60kV reconductors and Bank Replacement (120 months) | 185 | 77 | Greater Bay Area | Wind | On-Peak
Kasson Jct-Heinz 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.4625 | -122.06 | substation | 298 | 114.7 | 183.3 | 1255 | Nikola (216 months) | 1700 | 495 | Greater Bay Area, North of Greater Bay Area and Fresno | Wind | On-Peak
Newark-Newark Distribution 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.522 | -122.031 | substation | 8054 | 2914 | 5140 | 831 |  |  | 7290 |  | Wind | On-Peak
Tesla-Bellota 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.086 | -121.335 | substation | 3154 | 1071.6 | 2082.4 | 300 |  |  | 4254 |  | Wind | On-Peak
Eight Mile-Tesla 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.824 | -121.3725 | substation | 926 | 141.87 | 784.13 | 163 |  |  | 3909 |  | Wind | On-Peak
Grant - Eastshore #2 line 115 kV | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.874 | -122.2875 | substation | 962.9 | 1.05 | 961.85 | 290 | Reconductor 1869-Eastshore #1 and #2 115 kV lines (84 months) | 125 | 1220 | Greater Bay Area | Wind | On-Peak
Salado-Crow Creek Sw Sta 60 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.3425 | -121.98 | substation | 102.97 | 15.6 | 87.37 | 74 | Reconductor Salado 115kV and 60kV Area (144 months) | 400 | 102.97 | Greater Bay Area | Wind | On-Peak
Tesla-Salado 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.494 | -121.705 | substation | 178.92 | 114.6 | 64.32 | 70 |  |  | 180 |  | Wind | On-Peak
Morganhill-Metcalf 115kV Line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.2025 | -121.7365 | substation | 382 | 242.5 | 139.5 | 712 | Metcalf-Morgan Hill 115kV reconductoring (144 months) | 380 | 273 | Greater Bay Area | Wind | On-Peak
Tesla-Tracy Pump 230 kV Line #1 | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.6815 | -121.4475 | substation | 9287 | 3974 | 5313 | 4344 | Re-conductor 1883 Sw Sta-Tracy Pmp (2.9 miles) (60 months) | 25 | 9538 | Greater Bay Area and North of Greater Bay Area | Wind | On-Peak
Birds Landing-Contra Costa 230kV Line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.07 | -122.005 | substation | 656 | 655 | 1 | 1766 | New double circuit line from Vaca-Contra Costa 230 kV (144 months) | 700 | 1176 | Greater Bay Area and North of Greater Bay Area | Wind | On-Peak
Cal Flat-Gates 230 kV line | PG&E Kern Interconnection Area Constraints | PG&E | 36.41 | -120.2625 | substation | 927 | 927 | 0 | 1418 | Morro Bay Looping (98 months) | 1008.032 | 1005 | Kern, Los Padres | Solar | On-Peak, Off-Peak
Gates-Arco 230 kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 36.235 | -119.9975 | substation | 1562 | 1562 | 0 | 16891 | Re-conductor and reconfigure Gates-Arco-Midway 230 kV Lines (144 months) | 940 | 1226 | Kern | Solar | On-Peak, Off-Peak
Smyrna-Atwell Jct 115kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 35.475 | -119.165 | substation | 231 | 34.1 | 196.9 | 687 | Alpaugh-Semitropic Reconductor(96 months) | 220 | 144 | Kern | Solar | On-Peak, Off-Peak
Kern 230/115kV TB #4 | PG&E Kern Interconnection Area Constraints | PG&E | 35.37 | -119.03 | substation | 1912 | 46.1 | 1865.9 | 179 | Add New Kern 230/115kV Transformer Bank ( 54 months) | 30 | 1928 | Kern | Solar | On-Peak
Maricopa-Copus 70 kV line | PG&E Kern Interconnection Area Constraints | PG&E | 35.089 | -119.3415 | substation | 94.45 | 6.85 | 87.6 | 206 | Reconductor Kern-Old River 115 and 70 kV (132 months) | 620 | 58 | Kern | Solar | On-Peak, Off-Peak
Midway-Taft 115 kV line | PG&E Kern Interconnection Area Constraints | PG&E | 35.211 | -119.504 | substation | 17.78 | 11.4 | 6.38 | 9 |  |  | 270 | Kern | Solar | On-Peak
Kern-Tevis-Stockdale-Lamont 115kV line | PG&E Kern Interconnection Area Constraints | PG&E | 35.3525 | -119.0125 | substation | 184.8 | 0 | 184.8 | 367 | Reconductor Kern-Stockdale-Lamont 115 kV (84 months) | 120 | 109 | Kern | Solar | On-Peak, Off-Peak
Midway 230/115kV TB #3 | PG&E Kern Interconnection Area Constraints | PG&E | 35.28 | -119.56 | substation | 1592 | 246 | 1346 | 784 | Add new Midway 230/115 kV Transformer Bank (96 months) | 150 | 1377 | Kern | Solar | On-Peak, Off-Peak
Semitropic-Midway 115kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 35.41 | -119.49 | substation | 240 | 34 | 206 | 637 | Reconductor Semitropic-Midway-Kern 115 kV and 70 kV Lines (144 months) | 760 | 255 | Kern | Solar | On-Peak, Off-Peak
Midway-Buena Vista Jct 230kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 35.25 | -119.605 | substation | 471 | 176 | 295 | 234 | Reconductor Midway-Q2011 230 kV Line (72 months) | 100 | 471 | Kern | Solar | On-Peak
Gates 500/230kV TB #12 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.86 | -120.145 | substation | 5406 | 5406 | 0 | 14825 | Gates Bank 500/230kV Bank #13 (48 months) | 35 | 3581 | Fresno, Kern | Solar | On-Peak, Off-Peak
Gates 500/230kV TB #11 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.86 | -120.145 | substation | 5336.9 | 5337 | -0.1 | 10038 |  |  | 5027 | Fresno, Kern | Solar | On-Peak, Off-Peak
Gates 230/70kV TB #5 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.86 | -120.145 | substation | 300.67 | 111.37 | 189.3 | 47 | New Gates #6 230/70kV (96 months) | 110 | 272 | Fresno | Solar | On-Peak, Off-Peak
Tranquility-Helm 230kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.5725 | -120.1125 | substation | 2921 | 1013 | 1908 | 2274 | Gregg 500kV (180 months) | 1500 | 2777 | Fresno | Solar | On-Peak, Off-Peak
Dairyland-Chowchilla 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.875 | -119.955 | substation | 1110.5 | 275 | 835.5 | 1211 | Mendota 230 kV Conversion (120 months) | 250 | 1066 | Fresno | Solar | On-Peak, Off-Peak
Chowchilla-Le grand 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.175 | -120.255 | substation | 0 | 0 | 0 | 1211 | Le Grand 230 kV Station Conversion (180 months) | 550 | 158 | Fresno | Solar | On-Peak, Off-Peak
NEW- Melones-Cottle 230kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.585 | -120.365 | substation | 687 | 687 | 0 |  | Approved New Manning 500/230 kV Substation Project (2028) |  | 945 | Fresno | Solar | On Peak
Los Banos 500/230kV TB | PG&E Fresno Interconnection Area Constraints | PG&E | 37.057 | -120.85 | substation | 6411 | 5449 | 962 |  |  |  | 7216 | Fresno | Solar | On-Peak, Off-Peak
Schindler 115/70kV TB #1 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.8 | -120 | substation | 0 | 0 | 0 | 3160 | Manning 115 kV Addition (120 months) | 370 | 50 | Fresno | Solar | On-Peak, Off-Peak
Panoche- Mendota 115 kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.6735 | -120.593 | substation | 1985 | 275 | 1710 | 2019 |  |  | 1216 | Fresno | Solar | On-Peak, Off-Peak
Panoche-Oro Loma 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.6625 | -120.5025 | substation | 1782 | 275 | 1507 | 588 | Reconductor Oro Loma-Panoche 115 kV Lines (86 months) | 0 | 1903 | Fresno | Solar | On-Peak
Borden-Storey #1 230kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.025 | -120.12 | substation | 412 | 412 | 0 | 1247 | Reconductor Wilson-Storey 230 kV Lines (86 months) | 50 | 780 | Fresno | Solar | On-Peak, Off-Peak
Merced 115/70kV TB#2 | PG&E Fresno Interconnection Area Constraints | PG&E | 37.302 | -120.482 | substation | 122 | 75 | 47 | 358 | Replace Bank, and Reconductor Lines at Merced (144 months) | 135 | 156 | Fresno | Solar | On-Peak, Off-Peak
Helm 230/70kV TB #1 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.52 | -119.97 | substation | 38 | 38 | 0 | 60 | Helm 230/70 kV Transformer Bank replacement (84 months) | 330 | 128 | Fresno | Solar | On-Peak, Off-Peak
Oro Loma-El Nido 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.925 | -120.39 | substation | 528 | 528 | 0 | 3192 | Oro-loma- El nido-Wilson Reconductor (120 months) | 830 | 308 | Fresno | Solar | On-Peak, Off-Peak
Diablo-Gates 500 kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.3735 | -121.041 | substation | 5161 | 4780 | 381 | 4125 | New Diablo-Midway #4 500 kV Line (98 months) |  | 5581 | Kern, Fresno | Solar | On-Peak, Off-Peak
Mustang-Henrietta 230 kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.68 | -119.715 | substation | 5581 | 3404 | 2177 | 2479 |  | 214.062 |  | Fresno | Solar | On-Peak
Gates-Panoche 230 kV #1 and #2 Lines | PG&E Fresno Interconnection Area Constraints | PG&E | 36.7275 | -120.475 | substation | 4562 | 3874 | 688 | 8379 | Reconductor Gates-Panoche #1 and #2 230 kV Lines (86 months) |  |  | Fresno | Solar | On-Peak
NEW-Metcalf-Mosslanding 500kV | PG&E Fresno Interconnection Area Constraints | PG&E | 37.0375 | -121.8125 | substation | 1666 | 1172.5 | 493.5 |  | (72 months) | 200 | 6083 | Fresno | Solar | On-Peak

## L02_Queue_Congestion
constraint_name | area | utility | latitude | longitude | coord_method | active_queue_mw | active_queue_count | queue_congestion_ratio | plan_capability_mw | available_tpd_mw | queue_data_vintage
Antelope-Vincent Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.595 | -118.197 | substation | 6014.89 | 9 | 0.9782 | 6149.12 | 611 | 2026-03-12T02:07:59.930897+00:00
Vincent-Lugo Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.402 | -117.7425 | substation | 4600.7 | 6 | 0.6833 | 6733.24 | 2240 | 2026-03-12T02:07:59.930897+00:00
Pardee-Sylmar Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.332 | -118.543 | substation | 0 | 0 | 0 | 3530 | 0 | 2026-03-12T02:07:59.930897+00:00
Windhub Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.9 | -118.35 | substation | 6356.64 | 3 | 4.7665 | 1333.6 | 0 | 2026-03-12T02:07:59.930897+00:00
Moorpark-Pardee Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.305 | -118.713 | substation | 1516.53 | 1 | 1.5897 | 954 | 0 | 2026-03-12T02:07:59.930897+00:00
North of Magunden Constraint | SCE Northern Interconnection Area Constraints | SCE | 37.04 | -119.025 | substation | 2781.75 | 2 | 3.1755 | 876 | 0 | 2026-03-12T02:07:59.930897+00:00
South of Magunden Constraint | SCE Northern Interconnection Area Constraints | SCE | 37.04 | -119.025 | substation | 0 | 0 | 0 | 977 | 0 | 2026-03-12T02:07:59.930897+00:00
Antelope-Neenach Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.765 | -118.43 | substation | 2466.89 | 6 |  | 0 | 0 | 2026-03-12T02:07:59.930897+00:00
Hinson - Del Amo Constraint | SCE Metro Interconnection Area Constraints | SCE | 33.835 | -118.1295 | substation | 400 | 2 | 0.1481 | 2700 | 2240 | 2026-03-12T02:07:59.930897+00:00
SCE Metro Area Default Constraint | SCE Metro Interconnection Area Constraints | SCE | 33.95 | -118.24 | substation | 0 | 0 | 0 | 13500 | 7500 | 2026-03-12T02:07:59.930897+00:00
Control to Inyokern area constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 35.37 | -119.03 | substation | 0 | 0 |  | 0 | 0 | 2026-03-12T02:07:59.930897+00:00
South of Kramer Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.73 | -117.55 | substation | 2553.3 | 4 | 5.5993 | 456 | 0 | 2026-03-12T02:07:59.930897+00:00
Victor to Lugo Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.379 | -117.521 | substation | 1331.46 | 3 | 1.2877 | 1034 | 0 | 2026-03-12T02:07:59.930897+00:00
Lugo Transformer Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.379 | -117.521 | substation | 920.7 | 2 | 0.6933 | 1328 | 0 | 2026-03-12T02:07:59.930897+00:00
Calcite to Lugo Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.379 | -117.521 | substation | 1432.7 | 4 | 4.8239 | 297 | 0 | 2026-03-12T02:07:59.930897+00:00
Colorado River 500/230 kV Constraint | SCE Eastern Interconnection Area Constraints | SCE | 34.488 | -114.356 | substation | 12710.55 | 7 | 10.9574 | 1160 | 0 | 2026-03-12T02:07:59.930897+00:00
DCRT Constraint | SCE Eastern Interconnection Area Constraints | SCE | 34.488 | -114.356 | substation | 0 | 0 | 0 | 2300 | 0 | 2026-03-12T02:07:59.930897+00:00
Devers-Red Bluff Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.8315 | -116.6465 | substation | 5420.08 | 7 | 0.8132 | 6665 | 0 | 2026-03-12T02:07:59.930897+00:00
Eagle Mountain Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.834 | -115.438 | substation | 0 | 0 |  | 0 | 0 | 2026-03-12T02:07:59.930897+00:00
Etiwanda-Rancho Vista Constraint | SCE Eastern Interconnection Area Constraints | SCE | 34.153 | -117.495 | substation | 1453.05 | 3 | 0.3012 | 4824 | 0 | 2026-03-12T02:07:59.930897+00:00
Red Bluff 500/230 kV Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.715 | -116.305 | substation | 4970.08 | 5 | 3.4276 | 1450 | 0 | 2026-03-12T02:07:59.930897+00:00
Serrano-Alberhill-Valley Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.998 | -117.588 | substation | 7097.42 | 7 | 0.8684 | 8173 | 0 | 2026-03-12T02:07:59.930897+00:00
GLW 230kV area constraint | East of Pisgah (EOP) Interconnection Area Constraints (SCE, GLW, VEA) | SCE | 36.085 | -115.145 | substation | 12931.92 | 21 | 3.8351 | 3372 | 0 | 2026-03-12T02:07:59.930897+00:00
Sloan Canyon - Eldorado 500 kV constraint | East of Pisgah (EOP) Interconnection Area Constraints (SCE, GLW, VEA) | SCE | 35.848 | -114.9675 | substation | 8498.47 | 8 | 2.1078 | 4032 | 304 | 2026-03-12T02:07:59.930897+00:00
Lugo - Victorville area constraint | East of Pisgah (EOP) Interconnection Area Constraints (SCE, GLW, VEA) | SCE | 34.379 | -117.521 | substation | 920.7 | 2 | 0.0911 | 10105 | 0 | 2026-03-12T02:07:59.930897+00:00
Capistrano-San Onofre 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.4295 | -117.609 | substation | 256.88 | 1 | 0.194 | 1324 | 307 | 2026-03-12T02:07:59.930897+00:00
Chicarita 138 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.05 | -117.12 | substation | 0 | 0 | 0 | 224 | 0 | 2026-03-12T02:07:59.930897+00:00
El Cajon 69 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.79 | -116.96 | substation | 100.77 | 1 | 0.2482 | 406 | 0 | 2026-03-12T02:07:59.930897+00:00
Miguel 69 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.81 | -116.88 | substation | 0 | 0 | 0 | 231 | 0 | 2026-03-12T02:07:59.930897+00:00
Encina - San Luis Rey 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.1915 | -117.34 | substation | 560.4 | 2 | 0.1444 | 3880 | 0 | 2026-03-12T02:07:59.930897+00:00
San Luis Rey-San Onofre 230 kV line constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.3 | -117.4415 | substation | 19476.14 | 31 | 4.9862 | 3906 | 0 | 2026-03-12T02:07:59.930897+00:00
Ocean Ranch 69 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.22 | -117.38 | substation | 0 | 0 | 0 | 204 | 166 | 2026-03-12T02:07:59.930897+00:00
Otay Mesa 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.583 | -117.035 | substation | 1183.91 | 3 | 1.0076 | 1175 | 0 | 2026-03-12T02:07:59.930897+00:00
Silvergate - Bay Blvd 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.72 | -117.21 | substation | 213.55 | 1 | 0.0786 | 2717 | 0 | 2026-03-12T02:07:59.930897+00:00
Silvergate-Old Town 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.72 | -117.21 | substation | 213.55 | 1 | 0.0901 | 2369 | 0 | 2026-03-12T02:07:59.930897+00:00
Talega 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.473 | -117.61 | substation | 200 | 1 | 0.1946 | 1028 | 0 | 2026-03-12T02:07:59.930897+00:00
Trabuco-Capistrano 138 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.551 | -117.6275 | substation | 256.88 | 1 | 0.5127 | 501 | 244 | 2026-03-12T02:07:59.930897+00:00
Collinsville-Tesla 500 kV Line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 37.857 | -121.649 | substation | 21616.32 | 33 | 6.3973 | 3379 | 0 | 2026-03-12T02:07:59.930897+00:00
Woodland- Davis 115kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.611 | -121.7555 | substation | 19813.67 | 33 | 219.0566 | 90.45 | 25.45 | 2026-03-12T02:07:59.930897+00:00
Cortina-Eagle Rock 115 kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 39.2525 | -122.405 | substation | 19533.68 | 32 | 20.1171 | 971 | 875 | 2026-03-12T02:07:59.930897+00:00
Bell-Placer 115kV Line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.7755 | -121.23 | substation | 20569.96 | 35 | 59.2794 | 347 | 281.303 | 2026-03-12T02:07:59.930897+00:00
Carberry-Round Mountain 230kV Line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 40.72 | -122.24 | substation | 31872.06 | 50 | 2124.804 | 15 | 0 | 2026-03-12T02:07:59.930897+00:00
Rocklin-Pleaseant grove 115kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.791 | -121.236 | substation | 19813.67 | 33 | 396.2734 | 50 | 0 | 2026-03-12T02:07:59.930897+00:00
Bellota-Weber 230kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.2 | -121.2633 | substation | 32505.24 | 52 | 19.5697 | 1661 | 1070 | 2026-03-12T02:07:59.930897+00:00
Rio Oso-Brighton 230kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.7625 | -121.48 | substation | 31872.06 | 50 | 75.3477 | 423 | 301.13 | 2026-03-12T02:07:59.930897+00:00
Rio Oso-Lockeford 230kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.5625 | -121.345 | substation | 31872.06 | 50 | 30.5736 | 1042.47 | 970.32 | 2026-03-12T02:07:59.930897+00:00
Dumbarton-Newark 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.5085 | -122.0705 | substation | 19472.14 | 31 | 15.0947 | 1290 | 789 | 2026-03-12T02:07:59.930897+00:00
Eastshore-San Mateo 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.7165 | -122.306 | substation | 19220.14 | 30 | 8.9563 | 2146 | 1441 | 2026-03-12T02:07:59.930897+00:00
Lakeville-Ignacio 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.1375 | -122.535 | substation | 19220.14 | 30 | 8.5158 | 2257 | 332 | 2026-03-12T02:07:59.930897+00:00
Sobrante-Moraga 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.895 | -122.205 | substation | 19220.14 | 30 | 6.1211 | 3140 | 2594.5 | 2026-03-12T02:07:59.930897+00:00
Windmaster-Delta pumps 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.055 | -121.95 | substation | 19220.14 | 30 | 35.2017 | 546 | 0 | 2026-03-12T02:07:59.930897+00:00
Contra Costa- Windmaster 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.0425 | -122.035 | substation | 19784.31 | 31 | 16.0457 | 1233 | 655.2 | 2026-03-12T02:07:59.930897+00:00
Tesla-Tracy-Pump 230 kV line #2 | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.6815 | -121.4475 | substation | 21616.32 | 33 | 4.7259 | 4574 | 1527.532 | 2026-03-12T02:07:59.930897+00:00
Contra Costa #1 115kV Line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.03 | -122.12 | substation | 20377.84 | 34 | 636.8075 | 32 | 32 | 2026-03-12T02:07:59.930897+00:00
Kasson Jct-Heinz 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.4625 | -122.06 | substation | 19220.14 | 30 | 64.4971 | 298 | 183.3 | 2026-03-12T02:07:59.930897+00:00
Newark-Newark Distribution 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.522 | -122.031 | substation | 19472.14 | 31 | 2.4177 | 8054 | 5140 | 2026-03-12T02:07:59.930897+00:00
Tesla-Bellota 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.086 | -121.335 | substation | 21981.44 | 34 | 6.9694 | 3154 | 2082.4 | 2026-03-12T02:07:59.930897+00:00
Eight Mile-Tesla 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.824 | -121.3725 | substation | 21616.32 | 33 | 23.3438 | 926 | 784.13 | 2026-03-12T02:07:59.930897+00:00
Grant - Eastshore #2 line 115 kV | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.874 | -122.2875 | substation | 19220.14 | 30 | 19.9607 | 962.9 | 961.85 | 2026-03-12T02:07:59.930897+00:00
Salado-Crow Creek Sw Sta 60 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.3425 | -121.98 | substation | 19220.14 | 30 | 186.6577 | 102.97 | 87.37 | 2026-03-12T02:07:59.930897+00:00
Tesla-Salado 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.494 | -121.705 | substation | 21616.32 | 33 | 120.8156 | 178.92 | 64.32 | 2026-03-12T02:07:59.930897+00:00
Morganhill-Metcalf 115kV Line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.2025 | -121.7365 | substation | 20243.55 | 35 | 52.9936 | 382 | 139.5 | 2026-03-12T02:07:59.930897+00:00
Tesla-Tracy Pump 230 kV Line #1 | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.6815 | -121.4475 | substation | 21616.32 | 33 | 2.3276 | 9287 | 5313 | 2026-03-12T02:07:59.930897+00:00
Birds Landing-Contra Costa 230kV Line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.07 | -122.005 | substation | 36022.87 | 54 | 54.9129 | 656 | 1 | 2026-03-12T02:07:59.930897+00:00
Cal Flat-Gates 230 kV line | PG&E Kern Interconnection Area Constraints | PG&E | 36.41 | -120.2625 | substation | 22941.26 | 32 | 24.7479 | 927 | 0 | 2026-03-12T02:07:59.930897+00:00
Gates-Arco 230 kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 36.235 | -119.9975 | substation | 24864.19 | 34 | 15.9182 | 1562 | 0 | 2026-03-12T02:07:59.930897+00:00
Smyrna-Atwell Jct 115kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 35.475 | -119.165 | substation | 19813.67 | 33 | 85.7735 | 231 | 196.9 | 2026-03-12T02:07:59.930897+00:00
Kern 230/115kV TB #4 | PG&E Kern Interconnection Area Constraints | PG&E | 35.37 | -119.03 | substation | 989.59 | 6 | 0.5176 | 1912 | 1865.9 | 2026-03-12T02:07:59.930897+00:00
Maricopa-Copus 70 kV line | PG&E Kern Interconnection Area Constraints | PG&E | 35.089 | -119.3415 | substation | 19220.14 | 30 | 203.4954 | 94.45 | 87.6 | 2026-03-12T02:07:59.930897+00:00
Midway-Taft 115 kV line | PG&E Kern Interconnection Area Constraints | PG&E | 35.211 | -119.504 | substation | 22283.54 | 33 | 1253.2925 | 17.78 | 6.38 | 2026-03-12T02:07:59.930897+00:00
Kern-Tevis-Stockdale-Lamont 115kV line | PG&E Kern Interconnection Area Constraints | PG&E | 35.3525 | -119.0125 | substation | 20475.49 | 35 | 110.7981 | 184.8 | 184.8 | 2026-03-12T02:07:59.930897+00:00
Midway 230/115kV TB #3 | PG&E Kern Interconnection Area Constraints | PG&E | 35.28 | -119.56 | substation | 8065 | 12 | 5.066 | 1592 | 1346 | 2026-03-12T02:07:59.930897+00:00
Semitropic-Midway 115kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 35.41 | -119.49 | substation | 22877.07 | 36 | 95.3211 | 240 | 206 | 2026-03-12T02:07:59.930897+00:00
Midway-Buena Vista Jct 230kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 35.25 | -119.605 | substation | 35269.66 | 54 | 74.8825 | 471 | 295 | 2026-03-12T02:07:59.930897+00:00
Gates 500/230kV TB #12 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.86 | -120.145 | substation | 19078.97 | 25 | 3.5292 | 5406 | 0 | 2026-03-12T02:07:59.930897+00:00
Gates 500/230kV TB #11 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.86 | -120.145 | substation | 19078.97 | 25 | 3.5749 | 5336.9 | -0.1 | 2026-03-12T02:07:59.930897+00:00
Gates 230/70kV TB #5 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.86 | -120.145 | substation | 6147.05 | 4 | 20.4445 | 300.67 | 189.3 | 2026-03-12T02:07:59.930897+00:00
Tranquility-Helm 230kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.5725 | -120.1125 | substation | 34704.9 | 51 | 11.8812 | 2921 | 1908 | 2026-03-12T02:07:59.930897+00:00
Dairyland-Chowchilla 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.875 | -119.955 | substation | 19893.26 | 34 | 17.9138 | 1110.5 | 835.5 | 2026-03-12T02:07:59.930897+00:00
Chowchilla-Le grand 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.175 | -120.255 | substation | 20090.16 | 35 |  | 0 | 0 | 2026-03-12T02:07:59.930897+00:00
NEW- Melones-Cottle 230kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.585 | -120.365 | substation | 31974.73 | 51 | 46.5425 | 687 | 0 | 2026-03-12T02:07:59.930897+00:00
Los Banos 500/230kV TB | PG&E Fresno Interconnection Area Constraints | PG&E | 37.057 | -120.85 | substation | 16498.51 | 24 | 2.5735 | 6411 | 962 | 2026-03-12T02:07:59.930897+00:00
Schindler 115/70kV TB #1 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.8 | -120 | substation | 120 | 1 |  | 0 | 0 | 2026-03-12T02:07:59.930897+00:00
Panoche- Mendota 115 kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.6735 | -120.593 | substation | 19663.57 | 33 | 9.9061 | 1985 | 1710 | 2026-03-12T02:07:59.930897+00:00
Panoche-Oro Loma 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.6625 | -120.5025 | substation | 20246.53 | 35 | 11.3617 | 1782 | 1507 | 2026-03-12T02:07:59.930897+00:00
Borden-Storey #1 230kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.025 | -120.12 | substation | 32482.16 | 51 | 78.8402 | 412 | 0 | 2026-03-12T02:07:59.930897+00:00
Merced 115/70kV TB#2 | PG&E Fresno Interconnection Area Constraints | PG&E | 37.302 | -120.482 | substation | 0 | 0 | 0 | 122 | 47 | 2026-03-12T02:07:59.930897+00:00
Helm 230/70kV TB #1 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.52 | -119.97 | substation | 18.5 | 1 | 0.4868 | 38 | 0 | 2026-03-12T02:07:59.930897+00:00
Oro Loma-El Nido 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.925 | -120.39 | substation | 20532.29 | 35 | 38.8869 | 528 | 0 | 2026-03-12T02:07:59.930897+00:00
Diablo-Gates 500 kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.3735 | -121.041 | substation | 23970.2 | 33 | 4.6445 | 5161 | 381 | 2026-03-12T02:07:59.930897+00:00
Mustang-Henrietta 230 kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.68 | -119.715 | substation | 20109.74 | 34 | 3.6033 | 5581 | 2177 | 2026-03-12T02:07:59.930897+00:00
Gates-Panoche 230 kV #1 and #2 Lines | PG&E Fresno Interconnection Area Constraints | PG&E | 36.7275 | -120.475 | substation | 6666.95 | 7 | 1.4614 | 4562 | 688 | 2026-03-12T02:07:59.930897+00:00
NEW-Metcalf-Mosslanding 500kV | PG&E Fresno Interconnection Area Constraints | PG&E | 37.0375 | -121.8125 | substation | 15362.04 | 9 | 9.2209 | 1666 | 493.5 | 2026-03-12T02:07:59.930897+00:00

## L04_Industrial_Heat
constraint_name | area | utility | latitude | longitude | coord_method | co2_displacement_mtons_yr
Antelope-Vincent Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.595 | -118.197 | substation | 4855643
Vincent-Lugo Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.402 | -117.7425 | substation | 5316893
Pardee-Sylmar Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.332 | -118.543 | substation | 2787459
Windhub Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.9 | -118.35 | substation | 1053075
Moorpark-Pardee Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.305 | -118.713 | substation | 753325
North of Magunden Constraint | SCE Northern Interconnection Area Constraints | SCE | 37.04 | -119.025 | substation | 691732
South of Magunden Constraint | SCE Northern Interconnection Area Constraints | SCE | 37.04 | -119.025 | substation | 771487
Antelope-Neenach Constraint | SCE Northern Interconnection Area Constraints | SCE | 34.765 | -118.43 | substation
Hinson - Del Amo Constraint | SCE Metro Interconnection Area Constraints | SCE | 33.835 | -118.1295 | substation | 2132051
SCE Metro Area Default Constraint | SCE Metro Interconnection Area Constraints | SCE | 33.95 | -118.24 | substation | 10660254
Control to Inyokern area constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 35.37 | -119.03 | substation
South of Kramer Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.73 | -117.55 | substation | 360080
Victor to Lugo Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.379 | -117.521 | substation | 816497
Lugo Transformer Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.379 | -117.521 | substation | 1048653
Calcite to Lugo Area Constraint | SCE North of Lugo (NOL) Interconnection Area Constraints | SCE | 34.379 | -117.521 | substation | 234526
Colorado River 500/230 kV Constraint | SCE Eastern Interconnection Area Constraints | SCE | 34.488 | -114.356 | substation | 915992
DCRT Constraint | SCE Eastern Interconnection Area Constraints | SCE | 34.488 | -114.356 | substation | 1816191
Devers-Red Bluff Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.8315 | -116.6465 | substation | 5263007
Eagle Mountain Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.834 | -115.438 | substation
Etiwanda-Rancho Vista Constraint | SCE Eastern Interconnection Area Constraints | SCE | 34.153 | -117.495 | substation | 3809264
Red Bluff 500/230 kV Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.715 | -116.305 | substation | 1144990
Serrano-Alberhill-Valley Constraint | SCE Eastern Interconnection Area Constraints | SCE | 33.998 | -117.588 | substation | 6453797
GLW 230kV area constraint | East of Pisgah (EOP) Interconnection Area Constraints (SCE, GLW, VEA) | SCE | 36.085 | -115.145 | substation | 2662695
Sloan Canyon - Eldorado 500 kV constraint | East of Pisgah (EOP) Interconnection Area Constraints (SCE, GLW, VEA) | SCE | 35.848 | -114.9675 | substation | 3183863
Lugo - Victorville area constraint | East of Pisgah (EOP) Interconnection Area Constraints (SCE, GLW, VEA) | SCE | 34.379 | -117.521 | substation | 7979398
Capistrano-San Onofre 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.4295 | -117.609 | substation | 1254593
Chicarita 138 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.05 | -117.12 | substation | 212258
El Cajon 69 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.79 | -116.96 | substation | 384717
Miguel 69 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.81 | -116.88 | substation | 218891
Encina - San Luis Rey 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.1915 | -117.34 | substation | 3063836
San Luis Rey-San Onofre 230 kV line constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.3 | -117.4415 | substation | 3084367
Ocean Ranch 69 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.22 | -117.38 | substation | 193306
Otay Mesa 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.583 | -117.035 | substation | 1113404
Silvergate - Bay Blvd 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.72 | -117.21 | substation | 2145475
Silvergate-Old Town 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 32.72 | -117.21 | substation | 2244813
Talega 230 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.473 | -117.61 | substation | 974110
Trabuco-Capistrano 138 kV constraint | SDG&E Interconnection Area Constraints | SDG&E | 33.551 | -117.6275 | substation | 474737
Collinsville-Tesla 500 kV Line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 37.857 | -121.649 | substation | 3735511
Woodland- Davis 115kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.611 | -121.7555 | substation | 99993
Cortina-Eagle Rock 115 kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 39.2525 | -122.405 | substation | 1073448
Bell-Placer 115kV Line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.7755 | -121.23 | substation | 383611
Carberry-Round Mountain 230kV Line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 40.72 | -122.24 | substation | 16583
Rocklin-Pleaseant grove 115kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.791 | -121.236 | substation | 55275
Bellota-Weber 230kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.2 | -121.2633 | substation | 1836249
Rio Oso-Brighton 230kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.7625 | -121.48 | substation | 467630
Rio Oso-Lockeford 230kV line | PG&E North of Greater Bay Interconnection Area Constraints | PG&E | 38.5625 | -121.345 | substation | 1152459
Dumbarton-Newark 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.5085 | -122.0705 | substation | 1426105
Eastshore-San Mateo 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.7165 | -122.306 | substation | 2372420
Lakeville-Ignacio 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.1375 | -122.535 | substation | 2495131
Sobrante-Moraga 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.895 | -122.205 | substation | 3471295
Windmaster-Delta pumps 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.055 | -121.95 | substation | 603607
Contra Costa- Windmaster 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.0425 | -122.035 | substation | 1363091
Tesla-Tracy-Pump 230 kV line #2 | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.6815 | -121.4475 | substation | 5056593
Contra Costa #1 115kV Line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.03 | -122.12 | substation | 35376
Kasson Jct-Heinz 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.4625 | -122.06 | substation | 329441
Newark-Newark Distribution 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.522 | -122.031 | substation | 8903760
Tesla-Bellota 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.086 | -121.335 | substation | 3486772
Eight Mile-Tesla 230 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.824 | -121.3725 | substation | 1023700
Grant - Eastshore #2 line 115 kV | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.874 | -122.2875 | substation | 1064494
Salado-Crow Creek Sw Sta 60 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.3425 | -121.98 | substation | 113834
Tesla-Salado 115 kV line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.494 | -121.705 | substation | 197797
Morganhill-Metcalf 115kV Line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.2025 | -121.7365 | substation | 422304
Tesla-Tracy Pump 230 kV Line #1 | PG&E Greater Bay Interconnection Area Constraints | PG&E | 37.6815 | -121.4475 | substation | 10266851
Birds Landing-Contra Costa 230kV Line | PG&E Greater Bay Interconnection Area Constraints | PG&E | 38.07 | -122.005 | substation | 725213
Cal Flat-Gates 230 kV line | PG&E Kern Interconnection Area Constraints | PG&E | 36.41 | -120.2625 | substation | 732004
Gates-Arco 230 kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 36.235 | -119.9975 | substation | 1233431
Smyrna-Atwell Jct 115kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 35.475 | -119.165 | substation | 182409
Kern 230/115kV TB #4 | PG&E Kern Interconnection Area Constraints | PG&E | 35.37 | -119.03 | substation | 1509808
Maricopa-Copus 70 kV line | PG&E Kern Interconnection Area Constraints | PG&E | 35.089 | -119.3415 | substation | 74582
Midway-Taft 115 kV line | PG&E Kern Interconnection Area Constraints | PG&E | 35.211 | -119.504 | substation | 14040
Kern-Tevis-Stockdale-Lamont 115kV line | PG&E Kern Interconnection Area Constraints | PG&E | 35.3525 | -119.0125 | substation | 145927
Midway 230/115kV TB #3 | PG&E Kern Interconnection Area Constraints | PG&E | 35.28 | -119.56 | substation | 1257120
Semitropic-Midway 115kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 35.41 | -119.49 | substation | 189516
Midway-Buena Vista Jct 230kV Line | PG&E Kern Interconnection Area Constraints | PG&E | 35.25 | -119.605 | substation | 371924
Gates 500/230kV TB #12 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.86 | -120.145 | substation | 4268840
Gates 500/230kV TB #11 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.86 | -120.145 | substation | 4214275
Gates 230/70kV TB #5 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.86 | -120.145 | substation | 237424
Tranquility-Helm 230kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.5725 | -120.1125 | substation | 2306563
Dairyland-Chowchilla 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.875 | -119.955 | substation | 876905
Chowchilla-Le grand 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.175 | -120.255 | substation
NEW- Melones-Cottle 230kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.585 | -120.365 | substation | 542488
Los Banos 500/230kV TB | PG&E Fresno Interconnection Area Constraints | PG&E | 37.057 | -120.85 | substation | 5062436
Schindler 115/70kV TB #1 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.8 | -120 | substation
Panoche- Mendota 115 kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.6735 | -120.593 | substation | 1567452
Panoche-Oro Loma 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.6625 | -120.5025 | substation | 1407154
Borden-Storey #1 230kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.025 | -120.12 | substation | 325335
Merced 115/70kV TB#2 | PG&E Fresno Interconnection Area Constraints | PG&E | 37.302 | -120.482 | substation | 96337
Helm 230/70kV TB #1 | PG&E Fresno Interconnection Area Constraints | PG&E | 36.52 | -119.97 | substation | 30007
Oro Loma-El Nido 115kV Line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.925 | -120.39 | substation | 416934
Diablo-Gates 500 kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 37.3735 | -121.041 | substation | 4075376
Mustang-Henrietta 230 kV line | PG&E Fresno Interconnection Area Constraints | PG&E | 36.68 | -119.715 | substation | 4407028
Gates-Panoche 230 kV #1 and #2 Lines | PG&E Fresno Interconnection Area Constraints | PG&E | 36.7275 | -120.475 | substation | 3602376
NEW-Metcalf-Mosslanding 500kV | PG&E Fresno Interconnection Area Constraints | PG&E | 37.0375 | -121.8125 | substation | 1315554

## L3 Arbitrage_Opportunity
lmp_zone | zone_label | nodes_used | arbitrage_score | tb4_spread_rank | vol_rank | neg_price_rank | tb4_spread_mean | volatility_stdev | neg_price_freq | fetched_at | status
NP15 | Northern CA (PG&E) | PG&E DLAP (NP15), NP15 Hub | 10 | 10 | 10 | 10 | 31.2 | 16.59 | 0.04 | 2026-03-12T02:08:00.027487+00:00 | ok
SP15 | Southern CA (SCE/SDG&E) | SCE DLAP (SP15), SP15 Hub | 66.7 | 50 | 70 | 80 | 39.86 | 21.05 | 0.13 | 2026-03-12T02:08:00.027487+00:00 | ok
ZP26 | Central CA (Valley) | SDG&E DLAP (ZP26), ZP26 Hub | 73.3 | 90 | 70 | 60 | 40.81 | 21.21 | 0.12 | 2026-03-12T02:08:00.027487+00:00 | ok